HAZARD IDENTIFICATION CHECKLIST

Administrative/Office Areas

Safety Representative:___________________________________	Survey Date:_______________________

Department/Work Unit:__________________________________	Location/Room:_____________________

If “No” is selected, please correct the hazard and note the date.

| ### Yes | No | N/A | Date Corrected |
| --- | --- | --- | --- |

|  | Is the Emergency Procedures Flipchart and the UC Irvine Injuries & Medical Treatment posted? |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Does staff know location of evacuation assembly area and evacuation plan? |  |  |  |  |
|  | Are heavy or tippable items secured? (e.g. filing cabinets, bookcases) |  |  |  |  |
| 4. | Are heavy/hard items secured / limited in height? |  |  |  |  |
| 5. | Is storage kept at least 18” below sprinkler heads and ceiling throughout room or area? |  |  |  |  |
| 6. | Are aisles, hallways, exit corridors, and doorways kept clear and unobstructed? |  |  |  |  |
| 7. | Is good housekeeping practiced (e.g. spills cleaned up, and floors dry)? |  |  |  |  |
| 8. | Are walking surfaces and stair treads in good condition and without any trip hazards? |  |  |  |  |
| 9. | Are ceiling tiles/panels in reasonable condition (not substantially damaged, moldy, or missing)? |  |  |  |  |
| 10. | Are desk, cabinet and file drawers closed when not in use? |  |  |  |  |
| 11. | Are file cabinets filled from bottom to top? |  |  |  |  |
| 12. | Are proper tools/equipment (i.e. step stools or ladders) (link to) available to assist with reaching items above shoulder height? |  |  |  |  |
| 13. | Are exit corridors and doors free from obstruction (potentially created by improper storage or arrangement of furniture)? |  |  |  |  |
|  | Are exits properly marked and unobstructed (not locked)? |  |  |  |  |
|  | Are fire extinguishers provided and are physically and visually accessible, fully charged (needle is in the green zone), pin and security seal in place, and up-to-date maintenance tag? |  |  |  |  |
|  | Are floors clean and there is no spilled liquids? |  |  |  |  |
|  | Are electrical cords and plugs in good repair, not cracked, broken, or frayed? (include all appliances, including in kitchen areas) |  |  |  |  |
|  | Are wall outlets & switches in good repair (not broken, covers in place, etc.)? |  |  |  |  |
|  | If power strips are present, are they grounded and not connected to another power strip or to an extension cord? (Extension cords are only allowed for temporary conditions.) |  |  |  |  |
|  | Are there fixed or portable Ground Fault Circuit Interrupter (GFCI) devices used in areas that are frequently wet (within 6 feet of a water source)? |  |  |  |  |
|  | Are office machines and equipment guarded (e.g. paper cutter) and grounded and in good condition? |  |  |  |  |
|  | Do all electrical panels have a 3-foot clearance? |  |  |  |  |

Updated 1/2019

Resources

Question 1:  Emergency Procedures can be obtained from Emergency Management’s website:

https://portal.uci.edu/uPortal/p/webproxy-cms-file-view.ctf3/max/render.uP?pP_cmsUri=public%2FMainMenuEmergencyManagement.xml

Question 1:  UCI Injuries and Medical Treatment Poster can be obtained from the EH&S website:  https://www.ehs.uci.edu/MedEmergPoster.pdf

Question 12:  Ladder Purchasing guidelines: https://ehs.uci.edu/programs/safety/ladder-safety/index.html

Questions 9, 15, 17, 18, 19, and 20:  Contact Facilities Management for ceiling tiles, fire extinguishers, power, and outlet questions.  Contact FM for assistance and/or to submit a Facilities Management Request (FMR) at x45444 or at fm-servicedesk@uci.edu